NOTES:

- dimensions specified in cm,

- cover of bottom reinforcement bars 7 cm

- connect foundations to the lightning conductor according to the industry drawings

- place the prefabricated foundation on a levelled substrate (sand and gravel bed 30 cm thick compacted Id = 0.8)

- in the case of pouring the foundation slab on site, do not make the assembly rod No. 3

- maximum substrate pressure does not exceed 90 kPa

CONCRETE B-25

STEEL A-III

no.

no.

no.

no.

no.

FOUNDATION F-1

scale 1:20

no.

no.

no.

no.

no.

sand and gravel bed 30 cm thick

no.

no.

sand and gravel bed 30 cm thick

no.

no.

no.

emulsion tank

| COMPREHENSIVE DESIGN OFFICE »UNIPROMAG« |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 33-100 Tarnów, | ul. Rogoyskiego 2, |  | Phone |  | (0-14) 626-36-54 |  |
| FACILITY: |  |  |  |  |  |  |
| ASPHALT EMULSION STORAGE TANK ZE - 20000-30000 |  |  |  |  |  |  |
| Drawing: |  | Industry: |  |  |  |  |
| Foundation reinforcement F-1 |  |  | Construction |  |  |  |
| Designed: mgr. eng. Rafał Smoleń | No. of qualification: MAP/0176/P00K/05 authorized for design without limitations in the construction-building industry. | SIGNATURE: |  | Date: 03-2011 |  | SCALE: 1: 20 |
| Checked: . eng. Władysław Magiera | GT-IV-63/98/77 |  |  | Area |  | Drawing no. 1. |
|  | authorized for design without limitations in the construction-building industry |  |  |  |  |  |